## Instructions
Attachment A: Functional & Technical Requirements
Overview | Attachment A is a detailed technical requirements spreadsheet that must be thoroughly reviewed and completed by the vendor. This step is a critical component of the RFP process; therefore, the vendor should review this attachment carefully and in its entirety. Vendors should complete Attachment A according to the provided instructions. Failure to do so may preclude the vendor from participating in vendor demonstrations. Vendors that do not complete Attachment A according to BED’s desired standard may be asked for additional information.
Workbook Organization | The Functional & Technical Requirements workbook has 6 tabs: The first tab (Instructions) provides instructions for vendors. Tabs 2-6 cover the primary system requirements that must be responded to by the vendor.
Instructions | 1. The vendor should thoroughly review all technical requirements. This review should be conducted by appropriate subject matter experts for each respective category.
2. For each requirement on tab 2 of the Excel workbook, select one response from the dropdown list in columns ‘D’ - “Integration Capability" and 'E’ - “Integration Method." Please add specific systems with which you have integration experience and as necessary enter any notes, clarifications, or assumptions related to your response for each requirement in column ‘F’ – “Vendor Response Notes”.
3. For each requirement on tabs 3-6 of the Excel workbook, select one response from the dropdown list in column ‘D’ - “Vendor Response." Dropdown response options are:
Yes – Standard Functionality
Yes – Modifications Required
Roadmap with scheduled release (provide release date in notes)
Roadmap – Future release TBD
Not Possible
As necessary, enter any notes, clarifications, or assumptions related to your response for each requirement in column ‘E’ – “Vendor Response Notes”.

## Technical Requirements
Requirements Count |  |  | 81
General System Requirements |  |  |  |  | RFP Response
Req ID | Utility | Functional Group | Requirement | Notes | Vendor Response select from dropdown | Integration Capability select from dropdown | Integration Method select from dropdown | Vendor Response Notes
1 | All | Hosting | Provide a complete, hosted, software-as-a-service solution |  |  | N/A | N/A
2 | All | Hosting | Use standard, industry-accepted, and well-known database technology (e.g., Oracle or Microsoft SQL Server) for backend RDBMS software |  |  | N/A | N/A
3 | All | Environments | Provide both test and production environments |  |  | N/A | N/A
4 | All | Environments | Provide update/refresh of test environment as needed or on a predetermined schedule |  |  | N/A | N/A
5 | All | Environments | Provide DERMS test environment that integrates with test environments for other utility enterprise systems to support end-to-end testing |  |  | N/A | N/A
6 | All | Security | Meet standard security protocol for credentialed account access (LDAP(S), SAML, or OIDC) |  |  | N/A | N/A
7 | All | Security | Capability for all system components to track and audit changes (fields, tables) to any table made by any user or process |  |  | N/A | N/A
8 | All | Security | Capability for role-based security/access control |  |  | N/A | N/A
9 | All | Security | Capability to automate user creation via SCIM or LDAP Import |  |  | N/A | N/A
10 | All | Support | Capability for vendor to provide a user group relationship/feedback opportunity regarding product roadmap, development, and support/maintenance |  |  | N/A | N/A
11 | All | Support | Capability for vendor to provide notification of and response plan for vulnerabilities as they are detected |  |  | N/A | N/A
12 | All | Support | Capability for vendor to provide ongoing access to on-demand system training materials and resources, remote and/or online preferred |  |  | N/A | N/A
13 | All | Integrations | Capability to support future configuration changes in integrations to support the addition or replacement of other utility enterprise systems
14 | All | Integrations | Capability to adopt and support future changes in integration technologies/methods to improve reliability, security, and/or functionality of data exchange
15 | All | Reporting | Capacity to standardize data outputs and aggregated DER response data |  |  | N/A | N/A
16 | Burlington Electric | Integrations-CIS | Capability for two-way data integration with SpryCIS customer information system (CIS) according to specified frequency or schedule (e.g., hourly, daily) or real-time basis
17 | Vermont Public Power Supply | Integrations-CIS | Capability for two-way data integration with Cogsdale customer information systems (CIS) according to specified frequency or schedule (e.g., hourly, daily) or real-time basis
18 | Vermont Public Power Supply | Integrations-CIS | Capability for two-way data integration with Munis customer information systems (CIS) according to specified frequency or schedule (e.g., hourly, daily) or real-time basis
19 | Vermont Public Power Supply | Integrations-CIS | Capability for two-way data integration with Northstar customer information systems (CIS) according to specified frequency or schedule (e.g., hourly, daily) or real-time basis
20 | Vermont Public Power Supply | Integrations-CIS | Capability for two-way data integration with El Dorado customer information systems (CIS) according to specified frequency or schedule (e.g., hourly, daily) or real-time basis
21 | Vermont Public Power Supply | Integrations-CIS | Capability for two-way data integration with NISC customer information systems (CIS) according to specified frequency or schedule (e.g., hourly, daily) or real-time basis
22 | Washington Electric Co-op | Integrations-CIS | Capability for two-way data integration with NISC (iVUE Service) customer information systems (CIS) according to specified frequency or schedule (e.g., hourly, daily) or real-time basis
23 | Burlington Electric | Integrations-MDMS | Capability for two-way data integration with SmartWorks MDMS on a real-time basis
24 | Washington Electric Co-op | Integrations-MDMS | Capability for two-way data integration with NISC MDMS on a real-time basis
25 | Burlington Electric | Integrations-Portal | Capability for real-time, two-way data integration with SpryEngage customer portal
26 | Washington Electric Co-op | Integrations-Portal | Capability for real-time, two-way data integration with NISC SmartHub customer portal
27 | Washington Electric Co-op | Integrations-Payment Processor | Capability for real-time, two-way data integration with NISC SmartHub Paynow payment processor
28 | Vermont Public Power Supply | Integrations-ADMS/SCADA | Integrate with SCADA and ADMS (vendor TBD)
29 | Burlington Electric | Integrations-ADMS/SCADA | Integrate with Survalent SCADA/ADMS (roadmap - not a need in the next 5 years)
30 | Washington Electric Co-op | Integrations-DER OEMs | Integrate w/common electric vehicle OEMs via telematics
31 | Vermont Public Power Supply | Integrations-GIS | Integrate with mPower GIS
32 | Vermont Public Power Supply | Integrations-GIS | Integrate with NISC GIS
33 | Burlington Electric | Integrations-GIS | Integrate with ESRI ArcGIS
34 | Washington Electric Co-op | Integrations-DER OEMs | Integrate w/common EVSE OEMs
35 | All | Integrations-DER OEMs | Integrate w/common battery energy storage system OEMs
36 | All | Registration | Managed customer enrollment process |  |  | N/A | N/A
37 | All | Registration | Customer enrollment tailored by DER/OEM |  |  | N/A | N/A
38 | Burlington Electric | Registration | Customer enrollment interface branded for BED |  |  | N/A | N/A
39 | Burlington Electric | Registration | Provide customer enrollment interface in multiple languages |  |  | N/A | N/A
40 | Vermont Public Power Supply | Registration | Customer enrollment interface branded for each member utility |  |  | N/A | N/A
41 | Washington Electric Co-op | Registration | Customer enrollment interface branded for WEC |  |  | N/A | N/A
42 | Burlington Electric | Administration | BED staff access to administrative tools, including reports of participant data |  |  | N/A | N/A
43 | Vermont Public Power Supply | Administration | VPPSA staff access to all member utility data/activity |  |  | N/A | N/A
44 | Washington Electric Co-op | Administration | WEC staff access to GUI of participant data |  |  | N/A | N/A
45 | All | Integrations-DER OEMs | Capability to support multiple DER OEMs/device types
46 | Burlington Electric | Demand Response | Capability to orchestrate load changes across multiple DER types to achieve a goal, recognizing constraints and capabilities of DERs by type | increase/decrease load to maximum amount for a particular time |  | N/A | N/A
47 | Vermont Public Power Supply | Demand Response | Capability to orchestrate load changes across multiple utility assets to achieve a goal, recognizing constraints and capabilities of DERs by type | increase/decrease load to maximum amount for a particular time |  | N/A | N/A
48 | Burlington Electric | Demand Response | Capability to manage DER fleet for multiple simulataneous goals (i.e. transformer loading and peak shaving) |  |  | N/A | N/A
49 | Vermont Public Power Supply | Demand Response | Capability to manage utility asset fleet for multiple simulataneous goals (i.e. capacity peak and transmission peak) |  |  | N/A | N/A
50 | Burlington Electric | Demand Response | Capability for utility to call peak events |  |  | N/A | N/A
51 | Vermont Public Power Supply | Demand Response | Capability for utility to call peak events |  |  | N/A | N/A
52 | Burlington Electric | Demand Response | Ability to group DERs by asset type, geographic area, or other attributes |  |  | N/A | N/A
53 | Vermont Public Power Supply | Demand Response | Ability to group DERs by asset type, geographic area, or other attributes |  |  | N/A | N/A
54 | Burlington Electric | Demand Response | Ability to send customers messages (email, SMS) about load-control events |  |  | N/A | N/A
55 | Vermont Public Power Supply | Demand Response | Ability for customer communication (sending notices and pricing) |  |  | N/A | N/A
56 | Burlington Electric | Demand Response | Ability for customer to overide load control events via response to a text message/app |  |  | N/A | N/A
57 | Burlington Electric | Demand Response | Capability for DERMS to receive/record result from an override request |  |  | N/A | N/A
58 | All | Demand Response | Verification of customer activity during load control events |  |  | N/A | N/A
59 | All | Demand Response | Reporting of aggregate perfomance of load controlling events |  |  | N/A | N/A
60 | Vermont Public Power Supply | Demand Response | Ability to send customers dynamic price signals |  |  | N/A | N/A
61 | Burlington Electric | Demand Response | Ability to respond to dynamic price signals |  |  | N/A | N/A
62 | Vermont Public Power Supply | Demand Response | Ability to respond to dynamic price signals |  |  | N/A | N/A
63 | All | Demand Response | Ability for baselining (e.g., determining normal or typical peak demand for a similar set of conditions) |  |  | N/A | N/A
64 | All | Demand Response | Capacity to standardize data outputs from various DER OEMs and present aggregated DER response data |  |  | N/A | N/A
65 | All | Billing | Capability for DERMS to record consumption at device level -- collect and store 15-minute interval read data from DERs using OEM APIs |  |  | N/A | N/A
66 | All | Billing | Capability for data validation (verification/estimation) of DER data to clean up any data issues prior to billing |  |  | N/A | N/A
67 | All | Billing | Capability to send billing class/rate determinations information billed on billing calendar/billing cycle of each participant to CIS to support end-use rates |  |  | N/A | N/A
68 | Burlington Electric | Billing | Support flat bill credit: send a flag to CIS each month to tell it whether to enable the credit |  |  | N/A | N/A
69 | Washington Electric Co-op | Billing | Support flat bill credit: send a flag to CIS each month to tell it whether to enable the credit |  |  | N/A | N/A
70 | Burlington Electric | Billing | Support for programs that require estimating baselines for the specific end use load: calculate the baseline end use load, and then determine the credit by comparing the baseline load and the actual load. (DERMS would need to have algorithms for calculating baselines OR DERMS could receive baseline data from the MDMS.) |  |  | N/A | N/A
71 | Burlington Electric | Billing | Support fixed TOU programs involving an energy credit: bin up the data using the TOU schedule and each customer’s billing cycle dates. |  |  | N/A | N/A
72 | Burlington Electric | Billing | Support for fixed TOU programs involving a demand credit: receive whole building interval reads from MDMS and then figure out what the customer’s load would have been if there was no EV charging/heat pump usage. DERMS would then compare the actual demand, to the demand without EV charging/heat pump usage. The difference would be the demand KW credit that needs to be sent to the CIS, where it could be monetized there. |  |  | N/A | N/A
73 | Burlington Electric | Billing | Meet some type of SLA for billing so billing determinants are provided to CIS on a timely basis. |  |  | N/A | N/A
74 | Washington Electric Co-op | Billing | Meet some type of SLA for billing so billing determinants are provided to CIS on a timely basis. |  |  | N/A | N/A
75 | Burlington Electric | Forecasting | Capability to automate and develop forecasting or recommendations based on external data sources (e.g., forecast peak load events based on weather or cost causation based on energy prices) |  |  | N/A | N/A
76 | Vermont Public Power Supply | Forecasting | Capability to automate and develop forecasting or recommendations based on external data sources (e.g., forecast peak load events based on weather or cost causation based on energy prices) |  |  | N/A | N/A
77 | All | Reporting | Provide a flexible reporting engine |  |  | N/A | N/A
78 | Burlington Electric | Reporting | Capacity to standardize data outputs and aggregated DER response data |  |  | N/A | N/A
79 | Washington Electric Co-op | Reporting | Capacity to standardize data outputs and aggregated DER response data |  |  | N/A | N/A
80 | Burlington Electric | Reporting | Capability for data historian |  |  | N/A | N/A
81 | Vermont Public Power Supply | Reporting | Capability for data historian |  |  | N/A | N/A